## Slide 1: Basic Electrical Technology Introduction
Dr. LakshmanRao S. Paragond
Faculty Dept of Electrical and Electronics Engg
laxman.sp@manipal.edu
Mobile : 9448835163

## Slide 2: Course Outline: BET [ELE 1051]
DC Circuit Analysis:
  Circuit elements, Sources, Resistance, Inductance, Capacitance, Mesh Current and Node Voltage Analysis, Superposition, Thevenin’s and Max Power Transfer Theorems
Magnetic Circuit Analysis and Electromagnetism:
  Magnetism, Laws of magnetism, series and parallel magnetic circuits, Electromagnetic induction, Magnetic coupling, induced emfs, mesh current equations
Single phase AC Circuit Analysis:
  Generation, Representation, AC through R, L and C, Series and parallel circuits, Power, Power factor, Resonance in series and parallel AC circuits

## Slide 3: Course Outline ELE 1051 [2 1 0 3]
3 phase AC Circuit Analysis:
  Generation, Representation, Types of connection – Star & Delta, Analysis of balanced and unbalanced loads, Measurement of Power
Overview of Power System Components:
  Electrical Power System – An overview, Generation, Transmission, Distribution, Utilization of Electric Power; Overview of Electrical Machines, Types, working principle & applications; Measurement of Energy: Energy meters
Course Plan

## Slide 4: Assessment
In-Semester Assessment - 50%
  2 Sessionals: 15 marks each – 1 hour duration
  4 Quizzes : 5 marks each – 20 minutes
End-Semester Examination – 50%
  Written Examination : 50 marks – 3 hours duration
  Minimum Pass Marks for End Semester Exam: 18 marks
In order to clear the course a student must secure minimum pass marks (which could be between 35 to 50 marks) which is calculated by adding the marks obtained in In-Semester and End-Semester Exams.
All questions are to be answered
Attendance requirement : 75 % (which is regularly updated in SLcM)
NO use of Mobiles in the classroom.
Maintain Lecture Notes
Bring Calculators

## Slide 5: What is an Electric Circuit?
Definition:
“An interconnection of simple electrical devices with at least one closed path in which current may flow”

## Slide 6: Circuit Elements
Active & Passive
  Active Elements: Voltage & Current Source
  Passive Elements: Resistor, Inductor & Capacitor
Linear & Non-linear Elements
  Linear: Resistor, Inductor, Capacitor
  Nonlinear: Diode, LDR (Light Dependent Resistor), Thermistor, transistor
Unilateral & Bilateral Elements
  Unilateral (Current Flow in one direction): Diode, Transistor
  Bilateral: Resistor, Inductor, Capacitor*
Lumped & Distributed
Discuss only lumped linear bilateral circuit elements